Risk Assessment - Fire

| Responsible Person (Employer or other person having control of the relevant premises) |  | Nicholas Hands |  |  |
| --- | --- | --- | --- | --- |
| Address of Premises |  | Boundless Outdoors Old Hollow Malvern |  |  |
| Postcode |  | WR14 4NR |  |  |
| Assessor: |  | Nicholas Hands |  |  |
| Date of Fire Risk Assessment |  | April 2016 |  |  |
| Subsequent Review Dates |  |  |  |  |
| Reviewed by | Nuala Dalton |  | Date | 02/01/2025 |
| Reviewed by | Nuala Dalton |  | Date | 06/01/2024 |
| Reviewed by | Nuala Dalton |  | Date | 20/01/2023 |
| Reviewed by | James West |  | Date | 31/03/2022 |

General Information

| The Premises |  |
| --- | --- |
| Number of floors in building: (To include basements) | Office house:- 3 Chalet:- 2 Classrooms:- 1 North Block Common room:- 2 North Block accommodation:- 2 Staff House:- 1 Staff caravan:- 1 Staff flat: - 1 Dinning room and Kitchen:- 1 Equipment Stores:- 1 South block accommodation:- 2 Camping barn:- 1 |
| Brief details of construction: (Date of construction, brick, timber, purpose built or converted) | Office House:- 1890 Granite brick, slate roof Chalet:- 1995 Wooden with steel sub-structure Classroom:- 1982 wooden North Block common room:- 1960 Brick base with wooden second flood, slate roof. North Block accommodation:- 1985 Brick, slate roof Staff house:- 1970 Wooden, cement tiles Staff Caravan:- 1990 static caravan Dinning room and kitchen:- 1924 Wooden, Cement tiles Equipment Stores:- 1980, Brick, slate tiles South Block accommodation & Staff flat:- 1914, Wooden, cement tiles Camping Barn:- 1990, wooden |
| Primary usage: | Office house:- offices / duty office over nigh bed Chalet:- Client sleeping accommodation Classrooms:- Function room North Block Common room:- House keeping, maintenance stores, Games room North Block accommodation:- Client sleeping accommodation Staff House:- staff accommodation Staff caravan:- Staff accommodation Dinning room and Kitchen:- Kitchens, food stores, dinning area Equipment Stores:- Activity equipment store rooms South block accommodation:- Client Sleeping accommodation. Camping barn:- cooking area |

| Occupancy Profile |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Maximum number of persons in the most highly occupied compartment to be affected by an uncontrolled fire within 30 minutes, assuming no evacuation. | WEEKDAYS |  |  | WEEKENDS |  |  |  |  |
|  | 0000 to 0400 |  | 60 / 110 | 0000 to 0400 |  |  | 60 / 110 |  |
|  | 0400 to 0800 |  | 60 / 110 | 0400 to 0800 |  |  | 60 / 110 |  |
|  | 0800 to 1200 |  | 60 / 110 | 0800 to 1200 |  |  | 60 / 110 |  |
|  | 1200 to 1600 |  | 60 / 110 | 1200 to 1600 |  |  | 60 / 110 |  |
|  | 1600 to 2000 |  | 60 / 110 | 1600 to 2000 |  |  | 60 / 110 |  |
|  | 2000 to 2400 |  | 60 / 110 | 2000 to 2400 |  |  | 60 / 110 |  |
| Description of Occupants | Mobility Issues |  | Average Mobility |  | x | Vulnerability Issues |  |  |

| Occupants Especially At Risk From Fire |  |
| --- | --- |
| Sleeping occupants (Details of numbers - public/staff) | Office house:- 1 Chalet:- 18 Classrooms:- 0 North Block Common room:- 0 North Block accommodation:- 46 Staff House:- 3 Staff Caravan:- 2 Staff Flat: - 1 Dinning room and Kitchen:- 0 Equipment Stores:- 0 South block accommodation:- 58 Camping barn:- 0 |
| Disabled occupants (Personal Emergency Evacuation Plans in use when necessary) | Chalet:- Maximum 4 occupants |
| Young person’s under the age of 16 | Chalet:- 16 North Block accommodation:- 42 South block accommodation:- 52 |

Identified Fire Hazards

And Control Measures

| Electrical Sources Of Ignition |  |  |  |  |
| --- | --- | --- | --- | --- |
| Measures taken to prevent fires of electrical origin. |  |  |  |  |
| Fixed installation periodically inspected and tested? (e.g. every 5 years) |  |  | YES |  |
| Portable appliance testing carried out on a risk assessed basis? |  |  | YES |  |
| Suitable policy in place regarding the use of personal electrical appliances? |  |  | YES |  |
| Suitable limitation and management of trailing leads and adaptors? |  |  | YES |  |
| Identified Hazards | Control Measures |  |  | Risk Rating |
| 1. installations inspection 2. PAT testing 3. Personal electronics 4. Trailing leads | a. Fixed installation inspection conducted every 5 years by independent company. |  |  | Low Low Low Low |
|  | A. Trained member of staff to do regular PAT testing on all onsite electrical items. a. Policy is place for clients to use personal electrical items. b. Limited plugs in buildings c. Limited access to mobile sign and Wi-Fi. Groups less lightly to use items then charge them. d. Groups recommended not to bring electrical items. e. No multi plugs in any rooms. |  |  |  |
|  | a. No multi plugs in rooms. b. All long extension leads to be run around the outside of the room. c. Temporary us of extension leads to be removed after use. |  |  |  |
| Deficiencies: |  | Remedial Action Required: Look into PAT testing, possible training of staff. |  |  |

| Smoking |  |  |  |  |
| --- | --- | --- | --- | --- |
| Measures taken to prevent fires as a result of smoking. |  |  |  |  |
| Smoking prohibited in the building? |  |  |  | NO |
| Smoking permitted in appropriate areas? |  |  |  | YES |
| Suitable arrangements for those who wish to smoke? |  |  |  | YES |
| Identified Hazards | Control Measures |  | Risk Rating |  |
| 1. Smoking in buildings | a. No Smoking in or around buildings. |  | Low |  |
| 2. Smoking areas | a. Butts bit provided in smoking area b. under 18’s to be supervised in smoking area. c. visitors notified of smoking area on arrival |  | Low |  |
| 3. Smoking arrangements | a. No Smoking in centre kit. b. suitable time made available to smokers. c. no smoking on session. |  | Low |  |
| Deficiencies: |  | Remedial Action Required: |  |  |

| Arson/Deliberate Ignition |  |  |  |  |
| --- | --- | --- | --- | --- |
| Basic security against arson by outsiders or other persons appears reasonable. |  |  |  | YES |
| Is there the potential for fire load/combustibles in close proximity to the premises available for ignition by outsiders? |  |  |  | NO |
| Identified Hazards | Control Measures |  | Risk rating |  |
| 1. Unsanctioned visitors | a. Lock all buildings and windows when not in use. b. do not leave any flammables unattended on site. c. Move combustible elements away from buildings. E.g. cardboard box etc. |  | Low |  |
| Deficiencies: |  | Remedial Action Required: |  |  |

| Portable Heaters |  |  |  |  |
| --- | --- | --- | --- | --- |
| Portable heaters are used within the premises. |  |  |  | YES |
| Is the use of the more hazardous type (ie radiant bar fires or LPG appliances) avoided? |  |  |  | YES |
| Are suitable measures taken to minimise the hazard of ignition of combustible materials due to these heaters? |  |  |  | YES |
| Identified Hazards | Control Measures |  | Risk rating |  |
| 1. Dry clothing | a. All clothing to be dried in the drying rooms. b. Wet towels to left over end of beds. |  | Low |  |
| 2. Fan Heaters | a. Fan heaters only to be used in emergencies and in supervised areas. b. no fan heater to be used in wet areas. |  | Low |  |
| 3. Heaters in bed rooms | a. Where possible the use of oil filled radiators to be used in bedrooms b. No items to placed over heaters. c. where possible use oil filled radiators. If Electric radiators are used low capacitor one’s to be used. |  | Low |  |
| Deficiencies: |  | Remedial Action Required: |  |  |
| General Comments: Only portable fire that are suitable to be used with children to be use in the bedrooms |  |  |  |  |

| Fixed Heating Installations |  |  |  |
| --- | --- | --- | --- |
| Fixed heating installations such as boilers are used within the premises. |  |  | YES |
| Are fixed heating installations subject to regular maintenance? |  |  | YES |
| Are suitable measures taken to minimise the hazard of ignition of combustible materials due to these heaters? |  |  | YES |
| Identified Hazards | Control Measures |  | Risk rating |
| 1. Gas installation | a. all major works to be completed by gas safe engineers. b. all heating appliances to be serviced and check every 12 months. c. where suitable replacement with electric heating. d. where suitable to use gas cut off valves and safety systems. |  | Low |
| 2. altering gas appliances | a. all heating controls apart from thermostats to be behind locked doors. |  | Low |
| Deficiencies: |  | Remedial Action Required: |  |
| General Comments: All major works to be conducted by gas safe engineers. If in doubt turn the gas off and leave until and engineer. |  |  |  |

| Cooking |  |  |  |
| --- | --- | --- | --- |
| Measures taken to prevent fires as a result of cooking. |  |  |  |
| Filters cleaned or changed and ductwork cleaned regularly? |  |  | YES |
| Suitable extinguishing appliances available? (e.g. Fire blanket, Wet Chemical etc) |  |  | YES |
| Suitable Shut Down Procedures in place? |  |  | YES |
| Identified Hazards | Control Measures |  | Risk rating |
| 1. Cooking | a. only appointed person can use cooking facilities b. no open chip pans to used onsite c. No under 18 to be left unsupervised whilst cooking d. cooking in camp areas / bush craft to be supervised at all times by staff. e. Where possible extraction units to be used |  | Low |
| 2. Cooking area | a. area to be clear of hazards. b. no combustibles it be in the area of heat source c. floors must be clean and dry to avoid slip hazard |  | Low |
| 2. Campfire cooking / bush craft | a. under 18’s must be supervised at all time cooking outside. b. some form of extinguishing the fire must be present. c. all combustibles must be removed form area around fire. d. no flammable liquids to be used in lighting a fire. |  | Low |
| Deficiencies: |  | Remedial Action Required: |  |
| General Comments: |  |  |  |

| Lightning |  |  |  |
| --- | --- | --- | --- |
| The building has a lightning protection system. |  |  | NO |
| Is the lightning protection system subject to a suitable maintenance regime? |  |  | N/A |
| Identified Hazards | Control Measures |  | Risk rating |
| Deficiencies: None of the builds have any lightning protection systems |  | Remedial Action Required: Look into systems but not wholly suitable as buildings are set low into the ground with higher object in the local area. |  |
| General Comments: The centre is set on the side of Malvern hills. The centre footprint is in a low risk area for lightning strike. On the site there is significantly high objects that are earthed and not attached to any building |  |  |  |

| Dangerous Substances |  |  |  |  |
| --- | --- | --- | --- | --- |
| Dangerous substances are, or could be used or stored, within the premises? (i.e. Substantial quantities of alcohol, white spirits, other flammable liquids or materials) |  |  |  | YES |
| A risk assessment has been carried out as required by the Dangerous Substances and Explosive Atmospheres Regulations 2002? |  |  |  | YES |
| Stored in suitable areas and containers away from potential sources of ignition, to include issues of chemical reactivity and compatibility. |  |  |  | YES |
| Identified Hazards | Control Measures |  | Risk rating |  |
| 1. Storage | a. all flammables to be stored in a locked metal container. b. no reactive chemicals to be stored together. c. Reactive chemical to the stored in suitable containers and only in single units. d. no chemicals to be stored near an ignition source. |  | Low |  |
| 2. Use | a. all chimerical to be used in well vented area preferable outside. b. any spills to be cleaned up immediately |  | Low |  |
| 3. Access | a. Only appointed people to have access the chemicals cupboard. b. chemicals to be kept in a locked cupboard |  | Low |  |
| Deficiencies: |  | Remedial Action Required: |  |  |
| General Comments: |  |  |  |  |

| Housekeeping |  |  |  |
| --- | --- | --- | --- |
| Standards of housekeeping. |  |  |  |
| Combustible materials appear to be separated from ignition sources? |  |  | YES |
| Appropriate storage of hazardous materials? |  |  | YES |
| Escape routes kept clear of any combustibles? (Storage /furniture) |  |  | YES |
| Appropriate measures for the safe storage and disposal of waste? |  |  | YES |
| Identified Hazards | Control Measures |  | Risk rating |
| 1. Storage of cleaning products | a. all flammables to be stored in a locked metal container. b. no reactive chemicals to be stored together. c. Reactive chemical to the stored in suitable containers and only in single units. d. no chemicals to be stored near an ignition source. e. combustibles to stored in safe dry room with not ignition sources. |  | Low |
| 2. Use of cleaning products | a. all chimerical to be used in well vented area b. any spills to be cleaned up immediately |  | Low |
| 3. Access to cleaning cupboard | a. Only appointed people to have access the chemicals cupboard. b. chemicals to be kept in a locked cupboard |  | Low |
| 4. Storage of bedding | a. all bedding to be stored in a dry place with no access to ignition source. b. all bedding to be locked in cupboards in buildings to prevent access. c. bedding only to dried in drying room. d. No portable fan heater it be used in storage areas. e. dirty laundry to be removed from accommodation asap. |  | Low |
| 5. Storage of rubbish | a. all rubbish to be removed from buildings asap. b. rubbish to be stored in the supplied bins in buildings. c. over flowing bits and rubbish over flow to be removed to outside bits asap. d. large outside bins to have segregated waste. e. Outside bins to be stored away from buildings and emptied each week. f. chemical and other materials to be disposed of asap at local tip etc. |  | Low |
| Deficiencies: |  | Remedial Action Required: |  |
| General Comments: Whilst areas are been cleaned access to fires exits must be maintained. |  |  |  |

| Hazards Introduced By Contractors And Building Works |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Fire safety conditions have been imposed on both external contractors and in-house maintenance staff? |  |  |  |  |  |  |  |  | YES |
| Is there satisfactory control over works including use of hot work permits, where appropriate, carried out in the building by external contractors? Give details: |  |  |  |  |  |  |  |  | YES |
| If there are in-house maintenance personnel, are suitable precautions taken during works carried out by them, including use of hot work permits, where appropriate? Give details: |  |  |  |  |  |  |  |  | N/A |
| Identified Hazards |  | Control Measures |  |  |  | Risk rating |  |  |  |
| 1. Hot works |  | - hot works only to be carried out by outside contractors |  |  | Low |  |  |  |  |
| Deficiencies: |  |  | Remedial Action Required: |  |  |  |  |  |  |
| General Comments: All significant works to be carried out by outside contractors. Before work commences risk assessments must be checked and insurance policies. |  |  |  |  |  |  |  |  |  |
| Other Significant Fire Hazards That Warrant Consideration |  |  |  |  |  |  |  |  |  |
| Are there any other fire hazards that warrant consideration within the premises? (This to include any fire hazards from any process; heat producing, spark or friction generating, chemical or other process which has the capacity to ignite, create excessive or rapid heat or generate oxidising or flammable gas) |  |  |  |  |  |  |  |  | YES |
| Identified Hazards | Control Measures |  |  |  |  |  |  | Risk rating |  |
| 1. Boiler rooms | a. All boilers have emergency self cut offs. b. All boilers have no combustibles sored near them. c. All boilers have slow burn doors apart from South block. d. South block boiler room is separate from the main building |  |  |  |  |  | Low |  |  |
| 2. camp site | a.no cooking in tents b. campfire to be held away from tents. c. under 18’s to supervised cooking at all times. d. gas to be turned off when campsite not in use |  |  |  |  |  | Low |  |  |
| 3. Vehicle fires | a. fire extinguisher to be kept in buses. b. fire exits in bus to be kept clear. c. buses to be stored away from buildings and locked when not in use. d. buses only to fuelled off site. e. extra Fuel to only be carried in metal containers. |  |  |  |  |  | Low |  |  |
| 3. Forest fire | a. keep density of forest litter to a minimum. b. campfires only to be held in designated areas. |  |  |  |  |  | Low |  |  |
| Deficiencies: No Slow burn door on North block boiler room |  |  |  | Remedial Action Required: Look at adding slow burn door |  |  |  |  |  |

Arrangements for Evacuation

| Evacuation Strategy |  |
| --- | --- |
| Typical evacuation strategies within the premises are likely to involve one or more of the following arrangements. |  |
| Single Stage Evacuation It is reasonably expected that all relevant persons in the premises are able to (and will) evacuate immediately to a place of total safety. | YES |

| Written copies of Evacuation Procedures are located as follows: |  |  |  |  |
| --- | --- | --- | --- | --- |
| See end document. |  |  |  |  |
| Identified Hazards | Existing Control Measures |  |  | Are there any improvement recommendations |
| Deficiencies: |  | Remedial Action Required: |  |  |

Provision of Elements of Fire Safety as Secondary Control Measures

| Means Of Escape |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| It is considered that the premises are provided with reasonable means of escape in case of fire. Identify the means of evacuation and attach a plan. |  |  |  |  | YES |  |
| Adequate design of escape routes? |  |  |  |  | YES |  |
| Reasonable distances of travel when: |  |  |  |  |  |  |
| Where there is escape in a single direction? State the distance of 100m . . maximum travel. |  |  |  |  | YES |  |
| Where there are alternative means of escape? State the distance of 200m maximum travel. |  |  |  |  | YES |  |
| Suitable protection of escape routes? (Fire resisting construction) |  |  |  |  | YES |  |
| Adequate provision of exits? State the capacity of each exit. |  |  |  |  | YES |  |
| Exits easily and immediately open-able where necessary without the use of a key? |  |  |  |  | YES |  |
| Escape routes unobstructed? |  |  |  |  | YES |  |
| It is considered that the premises are provided with reasonable arrangements for means of escape for disabled people? Describe the arrangements below. |  |  |  |  | YES |  |
| Access in the chalet is one level with 2 fire exits leaving the building to the east side. |  |  |  |  |  |  |
| Does the evacuation plan fit with the floor space factors? |  |  |  |  | YES |  |
| Identify dead end corridors. Are the appropriately covered? |  |  |  |  | YES |  |
| Identify inner rooms. Are the appropriately covered? |  |  |  |  | YES |  |
| Identified Hazards | Control Measures |  |  | Risk rating |  |  |
| Fire exit blockage |  |  |  |  |  |  |
| Deficiencies: |  | Remedial Action Required: |  |  |  |  |

| Measures To Limit Fire Spread And Development |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| It is considered that there is: |  |  |  |  |  |
| Compartmentation of a reasonable standard. (Fire resisting) Identify compartmentation. |  |  |  |  | NO |
| Reasonable limitation of linings that may promote fire spread. (Walls and ceilings) |  |  |  |  | NO |
| As far as can be reasonable ascertained, fire dampers are provided in ducts or vents as necessary to protect critical means of escape routes against passage of fire, smoke and combustion products in the early stages of a fire? |  |  |  |  | YES |
| Identified Hazards | Control Measures |  |  | Risk rating |  |
| Vents / ducts | a. ducting in north block accommodation shuts on fire alarm activation. |  | Low |  |  |
| Deficiencies: Slow burn materials |  | Remedial Action Required: Due to the age of the building it is unfeasible to have slow burn or fire lined building materials. Where possible all fire exits are slow burn. |  |  |  |
| General Comments: Due to the age of the building it will be impossible to limit the spread of fire. The buildings are made from wood and over 100yrs old. Where possible exit routes are kept to a minimum. |  |  |  |  |  |

| Emergency Escape Lighting |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| It is considered that there is a reasonable standard of emergency escape lighting to ensure safe use of escape routes complying to BS5266? |  |  |  |  | YES |
| Identified Hazards | Existing Control Measures |  |  | Are there any improvement recommendations |  |
|  | Correct lighting in all areas. Serviced by Fire safe uk |  |  |  |  |
| Deficiencies: |  | Remedial Action Required: |  |  |  |

| Fire Safety Signs And Notices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| It is considered that there is a reasonable standard of fire safety signs and notices? This to include fire exit, fire resisting door and hazard signage. The signage should comply to Health & Safety (Signs and signals) Regulations BS1996 |  |  |  |  | YES |
| Identified Hazards | Existing Control Measures |  |  | Are there any improvement recommendations |  |
| Deficiencies: |  | Remedial Action Required: |  |  |  |

| Means Of Giving Warning In Case Of Fire |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reasonable manually operated fire warning system provided? |  |  |  |  | YES |
| If yes give details: (e.g. Break glass call points, fire bell, air horn, klaxon etc) |  |  |  |  |  |
| Automatic fire detection provided? If yes, to what Standard? (e.g. BS 5839 Part 1Grade L1/L2 etc) ...........BS5839....................................................................... |  |  |  |  | YES |
| Throughout Premises |  |  |  |  | YES |
| Part of Premises only |  |  |  |  | NO |
| Extent of automatic fire detection generally appropriate for the occupancy and fire risk? |  |  |  |  | YES |
| Remote transmission of alarm signals to a monitoring station or other? |  |  |  |  | YES |
| Identified Hazards | Existing Control Measures |  |  | Are there any improvement recommendations |  |
| Deficiencies: |  | Remedial Action Required: |  |  |  |
| General Comments: Fire alarm system throughout site. Onsite staff monitor alarms whilst groups are on site. |  |  |  |  |  |

| Manual Fire Extinguishing Appliances |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reasonable provision of portable fire extinguishers? |  |  |  |  | YES |
| Are all fire extinguishing appliances readily accessible and unobstructed? (i.e. mounted on walls or on appropriate bases) |  |  |  |  | YES |
| Is suitable wall signage provided relevant to extinguisher? |  |  |  |  | YES |
| Are hose reels provided? |  |  |  |  | NO |
| Identified Hazards | Existing Control Measures |  |  | Are there any improvement recommendations |  |
| Deficiencies: |  | Remedial Action Required: |  |  |  |

| Relevant Automatic Fire Extinguishing Systems |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Type of fixed system and location: (Inergen gas suppression systems, sprinklers/misting systems etc) |  |  |  |  | / NO |
| Identified Hazards | Existing Control Measures |  |  | Are there any improvement recommendations |  |
| Automatic system | Currently there is no automatic system. All groups do fire drills and all staff have internal fire training |  | NO possible to install automatic system |  |  |
| Deficiencies: |  | Remedial Action Required: |  |  |  |
| General Comments: |  |  |  |  |  |

| Other Relevant Fixed Systems And Equipment |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Type of fixed system and location: (i.e. Dry/wet risers, fireman’s lift control, smoke ventilation, smoke curtains etc) |  |  |  |  | N/A |
| Identified Hazards | Existing Control Measures |  |  | Are there any improvement recommendations |  |
| Deficiencies: |  | Remedial Action Required: |  |  |  |
| General Comments: |  |  |  |  |  |

| Firefighter Switch – High Voltage Luminous Tube Signs Etc |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Suitable provision of fire fighters switch(s) for high voltage luminous tube signs, etc (to include location)? |  |  |  |  | N/A |
| Identified Hazards | Existing Control Measures |  |  | Are there any improvement recommendations |  |
| Deficiencies: |  | Remedial Action Required: |  |  |  |
| General Comments: |  |  |  |  |  |

Management of Fire Safety

| Procedures And Arrangements |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Fire safety is managed by: |  | Nicholas Hands |  |  |  |  |
| Deputy or assistant: |  | Nuala Dalton |  |  |  |  |
| Are competent person(s) appointed to assist in undertaking the preventative and protective measures (i.e. relevant general fire precautions)? State name and responsible element of fire safety ..Nicholas Hands........... .....Whole Site / staff / visitors.............................. ....Nuala Dalton.................. ......Whole site / staff / visitors......................... ....Kate White..................... .......Whole site / staff / Visitors..................................... |  |  |  |  |  | YES |
| Is there a suitable record of the fire safety arrangements? |  |  |  |  |  | YES |
| Appropriate fire procedures in place? |  |  |  |  |  | YES |
| Are procedures in the event of a fire appropriate and properly documented? |  |  |  |  |  | YES |
| Are there suitable arrangements for summoning the Fire and Rescue Service? |  |  |  |  |  | YES |
| Are there suitable arrangements to meet the F&RS on arrival and provide relevant information, including that relating to hazards to fire fighters? |  |  |  |  |  | YES |
| Is there a plan of the building available indicating basic layout and any areas of significant risk? |  |  |  |  |  | YES |
| Are there suitable arrangements for ensuring that the premises have been evacuated? |  |  |  |  |  | YES |
| Is there a suitable fire assembly point(s)? |  |  |  |  |  | YES |
| Are there adequate procedures for evacuation of any disabled people who are likely to be present? |  |  |  |  |  | YES |
| Persons nominated and trained to assist with evacuation, Including evacuation of disabled people? |  |  |  |  |  | YES |
| Appropriate liaison (if necessary) with Fire and Rescue Service Rescue Service crews visiting for familiarisation visits? |  |  |  |  |  | YES |
| Routine in-house inspections of fire precautions (e.g. in the course of health and safety inspections)? |  |  |  |  |  | YES |
| Identified Hazards | Existing Control Measures |  |  |  | Are there any improvement recommendations |  |
| Deficiencies: |  |  | Remedial Action Required: |  |  |  |

| Training And Drills |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Fire safety training is managed by: |  |  | Nicholas Hands |  |  |  |
| Deputy or assistant: |  |  | Nuala Dalton |  |  |  |
| Are all staff given adequate fire safety instruction and training on induction? |  |  |  |  |  | YES |
| Are all staff given adequate periodic ‘refresher’ training at suitable intervals? If yes, at what intervals? |  |  |  |  |  | YES |
| Are all staff with special responsibilities (e.g. fire wardens and staff who assist with disabled people) given additional training? |  |  |  |  |  | YES |
| Does all training for staff provide information, instruction or training on the all the following (If no, indicate which one/s in the deficiencies boxes below): |  |  |  |  |  |  |
| Fire risks in the premises? The general fire precautions in the building? Action in the event of a fire? Action on hearing the fire alarm signal? Method of operation of manual call points? Location and use of fire extinguishers? Means for summoning the fire and rescue service? Identity of persons nominated to assist with evacuation? Identity of persons nominated to use fire extinguishing appliances? |  |  |  |  |  | YES |
| Are fire drills carried out at appropriate intervals and a record of such drills maintained? |  |  |  |  |  | YES |
| Is there sufficient and adequate channels of communication of fire safety information between employer and employee (e.g. Health & Safety meetings, notice boards etc) |  |  |  |  |  | YES |
| When the employees of another employer work in the premises, are they provided with adequate instructions and given appropriate information (e.g. on fire risks and fire safety measures)? |  |  |  |  |  | YES |
| Is there adequate co-operation and co-ordination between different Responsible Persons (Multi-Occupancy) to ensure compliance with the Fire Safety Order? |  |  |  |  |  | YES |
| Identified Hazards | Existing Control Measures |  |  |  | Are there any improvement recommendations |  |
| Deficiencies: |  | Remedial Action Required: |  |  |  |  |
| General Comments: |  |  |  |  |  |  |

| Testing And Maintenance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Testing and Maintenance is managed by: |  |  | Fire Safe Uk |  |  |  |
| Deputy or assistant : |  |  | Nicholas Hands |  |  |  |
| Adequate maintenance of workplace? |  |  |  |  |  | YES |
| Weekly testing and periodic servicing of fire detection and alarm system to include ancillary equipment (e.g. door hold open devices, door locks etc) |  |  |  |  |  | YES |
| Monthly and annual testing routines for emergency escape lighting? |  |  |  |  |  | YES |
| Annual maintenance of fire extinguishing appliances? |  |  |  |  |  | YES |
| Periodic inspection of external escape staircases and gangways? |  |  |  |  |  | YES |
| Six monthly inspection and annual testing of rising mains? |  |  |  |  |  | YES |
| Weekly and monthly testing, six monthly inspection and annual testing of fire fighting lifts? |  |  |  |  |  | YES |
| Weekly testing and periodic inspection of sprinkler installations? |  |  |  |  |  | N/A |
| Routine checks of final exit doors and/or security fastenings? |  |  |  |  |  | YES |
| Annual inspection and testing of lightning protection system? |  |  |  |  |  | N/A |
| Other relevant inspections or tests: |  |  |  |  |  |  |
| Identified Hazards | Existing Control Measures |  |  |  | Are there any improvement recommendations |  |
| Deficiencies: |  | Remedial Action Required: |  |  |  |  |
| General Comments: |  |  |  |  |  |  |

| Recording |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Appropriate records held for: |  |  |  |  |  |
| Fire drills? |  |  |  |  | YES |
| Fire training? |  |  |  |  | YES |
| Fire alarm tests? |  |  |  |  | YES |
| Emergency escape lighting tests? |  |  |  |  | YES |
| Maintenance and testing of other fire precaution systems? |  |  |  |  | YES |
| Location of Records: (Available for inspection by Fire Authority if required) Give Details: |  |  |  |  | Main office |
| Identified Hazards | Existing Control Measures |  |  | Are there any improvement recommendations |  |
| Deficiencies: |  | Remedial Action Required: |  |  |  |
| General Comments: |  |  |  |  |  |

| Priority | Meaning |
| --- | --- |
| High | Immediate priority to be actioned within 24 hours to 8 weeks Breaches of legal requirements, which could cause injury and require immediate short term action. Also includes matters that can be resolved at minimal cost |
| Medium | Medium priority to be actioned within 2-6 months Breaches in legislation that may require medium/long term action to resolve |
| Low | Low priority to be actioned within 6 months-1year Items of non urgent priority or for future consideration |

Deficiencies and recommendations identified earlier within this risk assessment should be copied into the following Remedy Action Plan and appropriate action taken.

For an example, see page 32.

| Significant Findings – Remedy Action Plan |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Action to be Taken | Priority | Target Completion Date | Action by | Date Action Completed |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |